## Blad1
VM | Powerstate | Template | SRM Placeholder | Config status | DNS Name | Connection state | Guest state | Heartbeat | Consolidation Needed | PowerOn | Suspended To Memory | Suspend time | Suspend Interval | Creation date | Change Version | CPUs | Overall Cpu Readiness | Memory | Active Memory | NICs | Disks | Total disk capacity MiB | Fixed Passthru HotPlug | min Required EVC Mode Key | Latency Sensitivity | Op Notification Timeout | EnableUUID | CBT | Primary IP Address | Network #1 | Network #2 | Network #3 | Network #4 | Network #5 | Network #6 | Network #7 | Network #8 | Num Monitors | Video Ram KiB | Resource pool | Folder ID | Folder | vApp | DAS protection | FT State | FT Role | FT Latency | FT Bandwidth | FT Sec. Latency | Vm Failover In Progress | Provisioned MiB | In Use MiB | Unshared MiB | HA Restart Priority | HA Isolation Response | HA VM Monitoring | Cluster rule(s) | Cluster rule name(s) | Boot Required | Boot delay | Boot retry delay | Boot retry enabled | Boot BIOS setup | Reboot PowerOff | EFI Secure boot | Firmware | HW version | HW upgrade status | HW upgrade policy | HW target | Path | Log directory | Snapshot directory | Suspend directory | Annotation | AFASContractnummer | Afdeling | Alarmering | backup | backup_details | Beheerder | Debiteurnummer | FunctieServer | Klantnaam | Klantnummer | SoortServer | SQLEdition | SQLVersion | Update | Updatemoment | WikiLink | XdConfig | Appliance | Datacenter | Cluster | Host | OS according to the configuration file | OS according to the VMware Tools | Customization Info | Guest Detailed Data | VM ID | SMBIOS UUID | VM UUID | VI SDK Server type | VI SDK API Version | VI SDK Server | VI SDK UUID
BODPODAPP1101 | poweredOn | False | False | green | BODPODAPP1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-15 19:15 |  |  | 0 | 2024-09-05 09:19 | 2026-03-16 18:21 | 4 | 0% | 8192 | 655 | 1 | 1 | 102400 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.55 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v243015 | /Papendorp/Klant - PMC/BodPod |  | True | notConfigured |  | gray | -1 | -1 |  | 110687 | 52066 | 43779 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] BODPODAPP1101/BODPODAPP1101.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] BODPODAPP1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] BODPODAPP1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] BODPODAPP1101/ | Last backup: [11-3-2026 00:43:51]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3167 | Hosting & Network |  | Last backup: [31-3-2026 23:28:20]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | BodPod App Server | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  | PMC-P-DEV-SVR-UM-Sunday-2200 | Zondag 22:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi05.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-243008 | 4230eb97-d1e6-ed13-d412-7900307ad72a | 5030fec6-4fcc-dcf5-2527-3e294bb1016f | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
BODPODSQL1101 | poweredOn | False | False | green | BODPODSQL1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-15 19:08 |  |  | 0 | 2024-09-05 09:31 | 2026-03-19 02:24 | 4 | 0% | 16384 | 983 | 1 | 8 | 339968 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.56 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v243015 | /Papendorp/Klant - PMC/BodPod |  | True | notConfigured |  | gray | -1 | -1 |  | 356457 | 70108 | 53619 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] BODPODSQL1101/BODPODSQL1101.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] BODPODSQL1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] BODPODSQL1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] BODPODSQL1101/ | Last backup: [11-3-2026 00:43:56]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3167 | Hosting & Network |  | Last backup: [31-3-2026 23:28:18]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | BodPod DataBase Server | Prinses Maxima Centrum | 051825 | SQLServer | Standard | 2019 | PMC-P-DEV-SVR-UM-Sunday-1800 | Zondag 18:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi08.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-243010 | 42303561-034c-4533-7acd-4309264113a1 | 5030b70c-98b7-24b6-94a1-508c67f63854 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
crl1141 | poweredOn | False | False | green | crl1141.prinsesmaximacentrum.nl | connected | running | green | False | 2026-02-23 22:45 |  |  | 0 | 2026-02-23 20:25 | 2026-03-27 02:22 | 2 | 0% | 4096 | 532 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.107 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  | True | notConfigured |  | gray | -1 | -1 |  | 86100 | 25863 | 21683 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] crl1141/crl1141.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] crl1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] crl1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] crl1141/ | Last backup: [11-3-2026 01:02:02]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:27:56]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi09.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.1487' prettyName='Windows Server 2022, 64-bit (Build 20348.1487)' | vm-548579 | 422ed7ae-85b6-4e6a-f5a5-02b358d7f001 | 502ea7f1-3fce-1301-0ad5-3cda880306b1 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
FortiGate-VM64.hw14-PMC | poweredOn | False | False | green | FW1A-PMC-PPD | connected | running | green | False | 2025-12-14 07:51 |  |  | 0 | 2021-11-23 10:36 | 2026-03-19 14:42 | 2 | 0% | 8192 | 327 | 10 | 2 | 32768 | False | intel-cascadelake | normal |  |  | TRUE | 100.66.6.31 | shrd-str-sg-vl1066-internet | pmc-str-sg-uplink-fgt-vm | shrd-str-sg-trunk-firewall-ix | shrd-str-sg-vl0599-VDOM3099 | pmc-str-sg-uplink-surfnet-vl1106 | pmc-str-sg-uplink-flashblades | shrd-str-sg-v3599-VDOM3080 | p2p_fgt-p09_to_fgt-p13 | 1 | 16384 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 41051 | 12084 | 3801 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 14 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] FortiGate-VM64.hw14-PMC/FortiGate-VM64.hw14-PMC.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] FortiGate-VM64.hw14-PMC/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] FortiGate-VM64.hw14-PMC/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] FortiGate-VM64.hw14-PMC/ | Appliance Last backup: [11-3-2026 00:42:26]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3057 | Hosting & Network |  | Last backup: [31-3-2026 23:28:41]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 080938 | firewall | Prinses Maxima Centrum Research | 080938 | Infrastructure | [6 empty] | Appliance | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc002-esxi07.ram.nl | Other 3.x Linux (64-bit) | Other 3.x Linux (64-bit) |  |  | vm-4166 | 422ef767-0e22-8122-5066-f978a5323048 | 502e645f-1453-b7c6-3966-025b54d26803 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
issu1141 | poweredOff | False | False | green | issu1141 | connected | notRunning | gray | False |  |  |  | 0 | 2026-02-23 20:20 | 2026-03-16 12:15 | 2 |  | 4096 | 0 | 1 | 1 | 81920 | False |  | normal |  | TRUE | TRUE |  | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  |  | notConfigured |  | gray | -1 | -1 |  | 86253 | 25235 | 25235 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] issu1141/issu1141.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] issu1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] issu1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] issu1141/ | Last backup: [11-3-2026 01:05:21]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:27:53]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi06.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2016 (64-bit) |  |  | vm-548575 | 422e3a12-96ba-45c6-a0d8-3a914f69b5d2 | 502e4dcb-9236-82e1-227f-d2d49b87c488 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
issu1142 | poweredOn | False | False | green | issu1142.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-03 11:39 |  |  | 0 | 2026-02-23 20:22 | 2026-03-26 05:26 | 2 | 0% | 4096 | 1024 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.103 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  | True | notConfigured |  | gray | -1 | -1 |  | 86100 | 25808 | 21628 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] issu1142/issu1142.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] issu1142/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] issu1142/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] issu1142/ | Last backup: [11-3-2026 01:02:15]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:27:55]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi05.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.1487' prettyName='Windows Server 2022, 64-bit (Build 20348.1487)' | vm-548577 | 422e1b11-a744-6c9d-20a2-52caeb6589d0 | 502e6682-c970-fc6d-5bea-d3ca7a56bff9 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-MON01 | poweredOn | False | False | green | MAX-MON01.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:13 |  |  | 0 | 2022-05-20 14:52 | 2026-03-19 15:26 | 2 | 0% | 6144 | 1105 | 1 | 3 | 153600 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.12 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 159837 | 49061 | 42824 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-MON01/MAX-MON01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-MON01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-MON01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-MON01/ | Last backup: [11-3-2026 00:56:18]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:04]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA monitoring | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi02.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16095 | 422efc9d-4b10-81ef-d6b5-34ae6d8c83e8 | 502e2d38-4279-c6ab-6e52-0537c5e80a5c | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-SEW1101 | poweredOn | False | False | green | MAX-PRD-SEW1101.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:15 |  |  | 0 | 2024-12-12 12:55 | 2026-03-16 09:43 | 2 | 0% | 12288 | 1105 | 1 | 3 | 249856 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.42 | pmc-str-sg-sectra | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 262239 | 50664 | 38281 | medium | none | vmMonitoringDisabled | Anti Affinity | MAX-PRD-SEW | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1101/MAX-PRD-SEW1101.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1101/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1101/ | Last backup: [11-3-2026 00:48:51]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:27:03]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Applicatie Server | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi09.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-279965 | 42309dd6-038c-b3d9-e7dc-8f9fbc269bdf | 50307c2c-6aae-bcc4-efe8-ddaa88caff8a | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-SEW1102 | poweredOn | False | False | green | MAX-PRD-SEW1102.pmc-beheer.local | connected | running | green | False | 2026-03-24 07:03 |  |  | 0 | 2024-12-12 14:49 | 2026-03-16 11:34 | 2 | 0% | 12288 | 2580 | 1 | 3 | 249856 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.43 | pmc-str-sg-sectra | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 262241 | 47175 | 34790 | medium | none | vmMonitoringDisabled | Anti Affinity | MAX-PRD-SEW | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1102/MAX-PRD-SEW1102.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1102/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1102/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1102/ | Created by ipxe on 2024-12-12 Last backup: [11-3-2026 00:57:40]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:26:41]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Applicatie Server | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi07.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4773' prettyName='Windows Server 2022, 64-bit (Build 20348.4773)' | vm-279973 | 42300d7d-b9da-73d5-2d54-fb74938b677d | 503095aa-edb2-f7a8-353e-32ae5029ff06 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-SEW1103 | poweredOn | False | False | green | MAX-PRD-SEW1103.pmc-beheer.local | connected | running | green | False | 2026-03-24 07:04 |  |  | 0 | 2024-12-12 13:26 | 2026-03-16 10:48 | 2 | 0% | 12288 | 1474 | 1 | 3 | 249856 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.44 | pmc-str-sg-sectra | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 262239 | 47638 | 35255 | medium | none | vmMonitoringDisabled | Anti Affinity | MAX-PRD-SEW | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1103/MAX-PRD-SEW1103.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1103/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1103/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN01] MAX-PRD-SEW1103/ | Last backup: [11-3-2026 01:01:06]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:27:03]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Applicatie Server | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi08.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4773' prettyName='Windows Server 2022, 64-bit (Build 20348.4773)' | vm-279968 | 42307465-29ed-f79e-fa2c-7a77e62b0193 | 5030f1c2-a9e3-f343-3c77-072433e7a376 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-SHS01 | poweredOn | False | False | green | MAX-PRD-SHS01.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:14 |  |  | 0 | 2022-05-20 14:51 | 2026-03-19 12:35 | 8 | 0% | 16384 | 2129 | 1 | 3 | 168960 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.31 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 185450 | 123159 | 106669 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-PRD-SHS01/MAX-PRD-SHS01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-PRD-SHS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-PRD-SHS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-PRD-SHS01/ | Last backup: [11-3-2026 00:56:22]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:03]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA Productie frontend | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi08.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16094 | 422e2305-68a9-85f9-59ff-493a18b690c2 | 502edf72-c3b2-006d-b6ce-df829ba3c8b4 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-SQL01 | poweredOn | False | False | green | MAX-PRD-SQL01.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:11 |  |  | 0 | 2022-05-20 14:52 | 2026-03-16 15:41 | 12 | 0% | 47104 | 1413 | 1 | 21 | 973824 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.21 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 1021046 | 221056 | 173834 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-PRD-SQL01/MAX-PRD-SQL01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-PRD-SQL01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-PRD-SQL01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] MAX-PRD-SQL01/ | PMC levert zelf de benodigde Microsoft SQL licenties! Last backup: [11-3-2026 00:51:44]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:05]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA database PRD | Prinses Maxima Centrum | 051825 | Infrastructure | Standard | 2019 | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi01.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16096 | 422e5484-6efe-c366-6bcb-e605cfba1820 | 502e61d7-ad84-eba7-8d9e-4abbfe60dc51 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-PRD-WIS01 | poweredOn | False | False | green | MAX-PRD-WIS01.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:14 |  |  | 0 | 2022-05-20 14:53 | 2026-03-16 10:41 | 6 | 0% | 16384 | 1146 | 2 | 4 | 7514112 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.32 | pmc-str-sg-sectra | ram-ppd-pg-cl001-v3812 | [6 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 7530743 | 7390921 | 7374290 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN08] MAX-PRD-WIS01/MAX-PRD-WIS01.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN08] MAX-PRD-WIS01/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN08] MAX-PRD-WIS01/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN08] MAX-PRD-WIS01/ | Last backup: [11-3-2026 01:00:34]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:26:42]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA Productie Wise server (backend) | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi08.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16097 | 422e3356-8f38-b7c7-1e25-6fe9bb8dde79 | 502e9d66-1f43-4182-a88c-167f11496280 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-STEP01 | poweredOn | False | False | green | MAX-STEP01.pmc-beheer.local | connected | running | green | False | 2026-03-23 19:11 |  |  | 0 | 2022-05-23 15:53 | 2026-03-16 12:18 | 4 | 0% | 16384 | 1146 | 1 | 2 | 143360 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.11 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 159846 | 74029 | 57543 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-STEP01/MAX-STEP01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-STEP01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-STEP01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-3] MAX-STEP01/ | Last backup: [11-3-2026 00:56:21]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:04]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA steppingstone | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Productie (PMC) | 4e maandag v/d maand 19:00 - 21:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi01.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16498 | 422e1251-1d81-db88-4acb-55ec7d631cbc | 502e49d7-fab6-c1a8-34e1-a17e96df5b75 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-TST-SHS01 | poweredOn | False | False | green | MAX-TST-SHS01.pmc-beheer.local | connected | running | green | False | 2026-03-23 04:17 |  |  | 0 | 2022-05-20 14:55 | 2026-03-16 16:34 | 4 | 0% | 16384 | 1966 | 1 | 3 | 168960 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.131 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 185441 | 111962 | 95481 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] MAX-TST-SHS01/MAX-TST-SHS01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] MAX-TST-SHS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] MAX-TST-SHS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] MAX-TST-SHS01/ | Last backup: [11-3-2026 01:00:32]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:26:41]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA Acceptatie Frontend server | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Test (PMC) | 4e maandag v/d maand 04:05 - 07:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi07.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16100 | 422e0711-ab74-6926-ef4c-b1707c9a7e74 | 502ecc15-60e0-c1f5-821e-ebe8be6fa707 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-TST-SQL01 | poweredOn | False | False | green | MAX-TST-SQL01.pmc-beheer.local | connected | running | green | False | 2026-03-23 04:15 |  |  | 0 | 2022-05-20 14:54 | 2026-03-17 21:37 | 4 | 0% | 16384 | 1310 | 1 | 4 | 680960 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.121 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 697444 | 132107 | 115623 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-SQL01/MAX-TST-SQL01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-SQL01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-SQL01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-SQL01/ | PMC levert zelf de benodigde Microsoft SQL licenties! Last backup: [11-3-2026 00:56:47]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:26:42]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA acceptatie Database | Prinses Maxima Centrum | 051825 | Infrastructure | Standard (User SAL for Server) | 2019 | Maxima Sectra Test (PMC) | 4e maandag v/d maand 04:05 - 07:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi08.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16098 | 422e05e4-bcb4-a5fe-f631-96d75f7c539c | 502e32a2-5d7b-ef9d-d18e-dfb10bf8bec1 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
MAX-TST-WIS01 | poweredOn | False | False | green | MAX-TST-WIS01.pmc-beheer.local | connected | running | green | False | 2026-03-23 04:15 |  |  | 0 | 2022-05-20 14:55 | 2026-03-30 09:57 | 4 | 0% | 16384 | 1310 | 1 | 3 | 199680 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.106.132 | pmc-str-sg-sectra | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 216161 | 150486 | 134005 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-WIS01/MAX-TST-WIS01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-WIS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-WIS01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] MAX-TST-WIS01/ | Last backup: [11-3-2026 00:56:27]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:26]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | PACS/SECTRA Acceptatie Wise server | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | Maxima Sectra Test (PMC) | 4e maandag v/d maand 04:05 - 07:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi02.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16099 | 422e2ce9-5631-fe43-7d30-5664d6f992fd | 502e04bb-99ed-5512-72ce-46aac21f077d | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
mediate1141 | poweredOn | False | False | green | mediate1141.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-03 11:39 |  |  | 0 | 2026-02-23 20:18 | 2026-03-27 03:03 | 2 | 0% | 4096 | 491 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.101 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  | True | notConfigured |  | gray | -1 | -1 |  | 86100 | 27110 | 22930 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] mediate1141/mediate1141.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] mediate1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] mediate1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] mediate1141/ | Last backup: [11-3-2026 01:04:43]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:28:17]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi06.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.1487' prettyName='Windows Server 2022, 64-bit (Build 20348.1487)' | vm-548573 | 422ed886-2ea9-ea37-878c-29d3b60bed4d | 502e1d7f-44a0-670c-8415-4f2f61767567 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCBIDFLOW1101 | poweredOn | False | False | green | PMCBIDFLOW1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-15 18:24 |  |  | 0 | 2024-08-02 08:12 | 2026-03-17 19:40 | 4 | 0% | 8192 | 819 | 1 | 1 | 102400 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.64 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 110690 | 42798 | 34508 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCBIDFLOW1101/PMCBIDFLOW1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCBIDFLOW1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCBIDFLOW1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCBIDFLOW1101/ | Created by ipxe on 2024-08-02 Last backup: [11-3-2026 00:43:07]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:28:41]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Lab server | Prinses Maxima Centrum | 051825 | Infrastructure | Express | 2022 | PMC-P-DEV-SVR-UM-Sunday-2200 | Zondag 22:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi07.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-230639 | 4230b993-4b39-1026-44c7-7fd9f4beafb6 | 503073e7-7b1c-6f84-4ced-8b76b36f7fce | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCBMXHOST1101 | poweredOn | False | False | green | BMXHOST1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-04-01 01:07 |  |  | 0 | 2025-11-14 14:16 | 2026-03-30 09:58 | 4 | 0% | 24576 | 2949 | 1 | 4 | 634880 | False | intel-cascadelake | normal |  | TRUE | TRUE | 10.17.107.80 | pmc-str-sg-beheer | [7 empty] | 1 | 16384 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v306041 | /Papendorp/Klant - PMC/CTF |  | True | notConfigured |  | gray | -1 | -1 |  | 659554 | 103192 | 78518 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 13 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-7] PMCBMXHOST1101/PMCBMXHOST1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-7] PMCBMXHOST1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-7] PMCBMXHOST1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-7] PMCBMXHOST1101/ | Last backup: [11-3-2026 00:47:45]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:27:52]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 |  | Prinses Maxima Centrum | 051825 | [8 empty] | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi02.ram.nl | Microsoft Windows Server 2016 or later (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-492026 | 422eae15-48b8-d57f-6b57-4130afc2381d | 502ec86e-15c5-d439-c55d-591283e28ade | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCCERTTEST1141 | poweredOn | False | False | green | PMCCERTTEST1141.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-30 15:20 |  |  | 0 | 2026-03-19 13:32 | 2026-03-30 14:44 | 4 | 0% | 16384 | 1146 | 1 | 2 | 184320 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.85 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 200791 | 35835 | 19364 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [pureppd01-uitrol] PMCCERTTEST1141/PMCCERTTEST1141.vmx | [pureppd01-uitrol] PMCCERTTEST1141/ | [pureppd01-uitrol] PMCCERTTEST1141/ | [pureppd01-uitrol] PMCCERTTEST1141/ | Created on 2026-03-19 with iPXE | 2804 |  |  | Last backup: [31-3-2026 23:29:04]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi07.ram.nl | Microsoft Windows Server 2025 (64-bit) | Microsoft Windows Server 2025 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='26100' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='26100.3476' prettyName='Windows Server 2025, 64-bit (Build 26100.3476)' | vm-561478 | 422e8bbe-131e-a5ab-6f0b-48d4c6812dd9 | 502e5c6c-74a4-2cf2-bc3a-257c973336f4 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCCSAT110 | poweredOn | False | False | green | PMCCSAT110.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-18 10:38 |  |  | 0 | 2024-06-04 11:17 | 2026-03-16 16:33 | 4 | 0% | 8192 | 573 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.70 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v306042 | /Papendorp/Klant - PMC/CSAT |  | True | notConfigured |  | gray | -1 | -1 |  | 90211 | 54069 | 45778 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCSAT110/PMCCSAT110.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCSAT110/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCSAT110/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCSAT110/ | Created by ipxe on 2024-06-04 Last backup: [11-3-2026 00:47:37]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | PMC - INFRA |  | Last backup: [31-3-2026 23:26:42]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | PMC | 051825 | Applicatieserver CSAT | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  | PMC-P-DEV-SVR-UM-Sunday-2200 | Zondag 22:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi07.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-208070 | 42198a04-5f99-bac1-95a9-f970c873f3fd | 501971cb-76ea-b204-9d73-edad10a7d616 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCCTFFILE1101 | poweredOn | False | False | green | PMCCTFFILE1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-22 18:46 |  |  | 0 | 2024-06-05 08:50 | 2026-03-20 08:01 | 4 | 0% | 8192 | 819 | 1 | 3 | 1284096 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.71 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v306041 | /Papendorp/Klant - PMC/CTF |  | True | notConfigured |  | gray | -1 | -1 |  | 1292385 | 187264 | 178975 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1101/PMCCTFFILE1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1101/ | Created by ipxe on 2024-06-05 Last backup: [11-3-2026 00:48:50]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:27:52]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | File server | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | PMC-P-DEV-SVR-UM-Sunday-2200 | Zondag 22:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi01.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-208401 | 42195fac-7a7b-87cf-e43f-f7268d64b632 | 50198dac-21c5-9eb1-391b-0f739d97eed3 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCCTFFILE1102 | poweredOn | False | False | green | PMCCTFFILE1102.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-22 18:42 |  |  | 0 | 2024-11-01 15:56 | 2026-03-19 15:26 | 4 | 0% | 4096 | 737 | 1 | 3 | 1284096 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.76 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v306041 | /Papendorp/Klant - PMC/CTF |  | True | notConfigured |  | gray | -1 | -1 |  | 1288287 | 32248 | 28057 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1102/PMCCTFFILE1102.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1102/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1102/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCCTFFILE1102/ | Last backup: [11-3-2026 00:48:33]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:27:52]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Fileserver | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | PMC-P-DEV-SVR-UM-Sunday-1800 | Zondag 18:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi02.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-264310 | 42304d34-ab95-0e83-ac20-389f40bd0b18 | 503078fe-0d31-9764-b296-b325e6118e63 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCLABMIG1101 | poweredOn | False | False | green | PMCLABMIG1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-22 18:45 |  |  | 0 | 2024-06-28 09:21 | 2026-03-19 15:26 | 6 | 0% | 24576 | 737 | 1 | 2 | 337920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.72 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 362598 | 84555 | 59877 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] PMCLABMIG1101/PMCLABMIG1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] PMCLABMIG1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] PMCLABMIG1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-6] PMCLABMIG1101/ | Last backup: [11-3-2026 00:42:17]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:28:44]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Lab systeem, Fileserver | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | PMC-P-DEV-SVR-UM-Sunday-1800 | Zondag 18:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi02.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-218158 | 4230aa81-34ed-ae3a-ab5e-2ae2ee05a85e | 503042f0-0522-bbe7-8168-afdb4c21a055 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCLOVOAPP1101 | poweredOn | False | False | green | PMCLOVOAPP1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-22 18:37 |  |  | 0 | 2025-09-25 10:27 | 2026-03-16 09:42 | 4 | 0% | 16384 | 983 | 1 | 2 | 337920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.79 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v306041 | /Papendorp/Klant - PMC/CTF |  | True | notConfigured |  | gray | -1 | -1 |  | 354401 | 44501 | 28020 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [PurePPD02-RamPPDLUN004] PMCLOVOAPP1101/PMCLOVOAPP1101.vmx | [PurePPD02-RamPPDLUN004] PMCLOVOAPP1101/ | [PurePPD02-RamPPDLUN004] PMCLOVOAPP1101/ | [PurePPD02-RamPPDLUN004] PMCLOVOAPP1101/ | Created on 2025-09-25 with iPXE Last backup: [11-3-2026 01:11:49]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Infrastructure | 24 uurs | Last backup: [1-4-2026 00:23:39]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 | Infrastructure | Prinses Maxima Centrum |  |  |  |  | Zondag 18:00 | Zondag 18:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi09.ram.nl | Microsoft Windows Server 2022 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-465912 | 422e468f-2da8-6377-3a77-8e40b1a9935d | 502eb440-1863-4b8d-2b9d-0c5ab25905af | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCLOVODB1101 | poweredOn | False | False | green | PMCLOVODB1101.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-22 18:35 |  |  | 0 | 2025-09-25 10:16 | 2026-03-19 02:18 | 4 | 0% | 16384 | 1146 | 1 | 2 | 593920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.78 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v306041 | /Papendorp/Klant - PMC/CTF |  | True | notConfigured |  | gray | -1 | -1 |  | 610401 | 54934 | 38453 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [PurePPD02-RamPPDLUN001] PMCLOVODB1101/PMCLOVODB1101.vmx | [PurePPD02-RamPPDLUN001] PMCLOVODB1101/ | [PurePPD02-RamPPDLUN001] PMCLOVODB1101/ | [PurePPD02-RamPPDLUN001] PMCLOVODB1101/ | Created on 2025-09-25 with iPXE Last backup: [11-3-2026 01:12:15]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Infrastructure | 24 uurs | Last backup: [1-4-2026 00:23:39]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 | Infrastructure | Prinses Maxima Centrum | [5 empty] | Zondag 22:00 |  |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi09.ram.nl | Microsoft Windows Server 2022 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-465911 | 422ebc67-8ad7-afb1-f2d6-7fc9660d3694 | 502e6be7-3733-c9c0-fa6a-5694ef220054 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCPALGA1101 | poweredOn | False | False | green | prod-mercurius-node-1079 | connected | running | green | False | 2025-06-24 10:26 |  |  | 0 | 2024-08-15 14:12 | 2026-03-17 20:26 | 2 | 0% | 16384 | 491 | 1 | 3 | 307200 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.74 | pmc-str-sg-beheer | [7 empty] | 1 | 262144 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v235300 | /Papendorp/Klant - PMC/Palga |  | True | notConfigured |  | gray | -1 | -1 |  | 323680 | 278694 | 262214 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1101/PMCPALGA1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1101/ | Last backup: [11-3-2026 01:05:22]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | PMC - INFRA |  | Last backup: [31-3-2026 23:27:28]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | Palga | 051825 | PALGA Server - Mercurius Productie | Prinses Maxima Centrum | 051825 | Infrastructure | [6 empty] | Appliance | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi07.ram.nl | Ubuntu Linux (64-bit) | Ubuntu Linux (64-bit) | IDLE | architecture='X86' bitness='64' distroAddlVersion='22.04.5 LTS (Jammy Jellyfish)' distroName='Ubuntu' distroVersion='22.04' familyName='Linux' kernelVersion='5.15.0-142-generic' prettyName='Ubuntu 22.04.5 LTS' | vm-235302 | 422e1acc-1baf-7254-d854-4f827ee14041 | 502e1bbc-f640-194d-f5b9-12c23f240483 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCPALGA1141 | poweredOn | False | False | green | acpt-mercurius-node-2079 | connected | running | green | False | 2025-06-24 11:20 |  |  | 0 | 2024-08-19 10:06 | 2026-03-19 13:02 | 2 | 0% | 16384 | 491 | 1 | 3 | 307200 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.73 | pmc-str-sg-beheer | [7 empty] | 1 | 262144 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v235300 | /Papendorp/Klant - PMC/Palga |  | True | notConfigured |  | gray | -1 | -1 |  | 323678 | 212074 | 195596 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1141/PMCPALGA1141.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1141/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1141/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCPALGA1141/ | Last backup: [11-3-2026 01:05:22]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | PMC - INFRA |  | Last backup: [31-3-2026 23:27:30]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | Palga | 051825 | PALGA Server - Mercurius Acceptatie | Prinses Maxima Centrum | 051825 | Infrastructure | [6 empty] | Appliance | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc002-esxi06.ram.nl | Ubuntu Linux (64-bit) | Ubuntu Linux (64-bit) | IDLE | architecture='X86' bitness='64' distroAddlVersion='22.04.5 LTS (Jammy Jellyfish)' distroName='Ubuntu' distroVersion='22.04' familyName='Linux' kernelVersion='5.15.0-142-generic' prettyName='Ubuntu 22.04.5 LTS' | vm-236758 | 422e6c07-2aa0-29e0-b69f-db8366b082d8 | 502e1571-2394-730e-ce30-3750c9372b1f | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCSPACES1101 | poweredOn | False | False | green | PMCSPACES1101 | connected | running | green | False | 2026-01-19 14:55 |  |  | 0 | 2024-12-17 13:53 | 2026-03-30 10:00 | 2 | 0% | 4096 | 942 | 1 | 1 | 122880 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.22 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 122966 | 24876 | 24790 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-1] PMCSPACES1101/PMCSPACES1101.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-1] PMCSPACES1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-1] PMCSPACES1101/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-1] PMCSPACES1101/ | Last backup: [11-3-2026 00:43:00]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | PMC - INFRA |  | Last backup: [31-3-2026 23:28:46]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | Consia | 051825 | Netwerk beheer | Prinses Maxima Centrum | 051825 | Infrastructure | [7 empty] | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi08.ram.nl | Other (64-bit) | AlmaLinux (64-bit) | IDLE | architecture='X86' bitness='64' cpeString='cpe:/o:almalinux:almalinux:8::baseos' distroAddlVersion='8.10 (Cerulean Leopard)' distroName='AlmaLinux' distroVersion='8.10' familyName='Linux' kernelVersion='4.18.0-513.24.1.el8_9.x86_64' prettyName='AlmaLinux 8.10 (Cerulean Leopard)' | vm-281966 | 422e96f4-e71f-7e23-f97b-713f7e37abb7 | 502ed702-12b5-2f6d-37d9-598a0ec430df | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMCSRSAPP01 | poweredOn | False | False | green | PMCSRSAPP01 | connected | running | green | False | 2023-11-10 09:56 |  |  | 0 | 2021-11-24 15:30 | 2026-03-17 21:37 | 4 | 0% | 16384 | 1146 | 1 | 2 | 188416 | False | intel-broadwell | normal |  |  | TRUE | 10.17.105.3 | pmc-str-sg-superna | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v250846 | /Papendorp/Klant - PMC/Superna |  | True | notConfigured |  | gray | -1 | -1 |  | 204896 | 131260 | 114780 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 8 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCSRSAPP01/PMCSRSAPP01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCSRSAPP01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCSRSAPP01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMCSRSAPP01/ | Last backup: [11-3-2026 01:01:26]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3057 | Hosting & Network |  | Last backup: [31-3-2026 23:27:29]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 080938 | Superna Anti-Ransomware Applicatie (Ransomware Defender) | Prinses Maxima Centrum Research | 080938 | Applicatieserver niet beheerd | [6 empty] | Appliance | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi08.ram.nl | Other (32-bit) | Other (32-bit) |  |  | vm-4243 | 422e1ee2-3ce8-788f-64f0-2e2753f00516 | 502ea5c4-52cc-0535-67e7-7dfadee0b0c6 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMC-Stepping | poweredOn | False | False | green | PMC-Stepping | connected | running | green | False | 2026-03-15 18:38 |  |  | 0 | 2021-11-23 11:38 | 2026-03-17 20:23 | 2 | 0% | 8192 | 737 | 1 | 1 | 61440 | False | intel-skylake | normal | 0 | TRUE | TRUE | 10.17.105.40 | pmc-str-sg-superna | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v250846 | /Papendorp/Klant - PMC/Superna |  | True | notConfigured |  | gray | -1 | -1 |  | 69720 | 49573 | 41293 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-Stepping/PMC-Stepping.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-Stepping/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-Stepping/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-Stepping/ | Last backup: [11-3-2026 01:01:36]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3057 | Hosting & Network |  | Last backup: [31-3-2026 23:27:27]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 080938 | steppingstone | Prinses Maxima Centrum Research | 080938 | Infrastructure | [7 empty] | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi07.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8389' prettyName='Windows Server 2019, 64-bit (Build 17763.8389)' | vm-4235 | 421c72c7-afaf-60c4-01a5-2daf10b019c9 | 501c1024-2917-807b-d1f9-9553b5878d5f | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
PMC-WSUS | poweredOn | False | False | green | PMC-WSUS.pmc-beheer.local | connected | running | green | False | 2026-03-15 18:36 |  |  | 0 | 2023-06-15 12:54 | 2026-03-19 14:43 | 4 | 0% | 8192 | 819 | 1 | 2 | 747520 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.8 | pmc-str-sg-beheer | [7 empty] | 1 | 8192 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v306043 | /Papendorp/Klant - PMC/Beheer |  | True | notConfigured |  | gray | -1 | -1 |  | 755811 | 676535 | 668244 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-WSUS/PMC-WSUS.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-WSUS/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-WSUS/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] PMC-WSUS/ | Last backup: [11-3-2026 00:47:19]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | Hosting & Network |  | Last backup: [31-3-2026 23:26:42]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | WSUS Server | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | WU_RAM_3e-Woensdag-05h00 | 3e Woensdag 5:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc002-esxi07.ram.nl | Microsoft Windows Server 2022 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.4893' prettyName='Windows Server 2022, 64-bit (Build 20348.4893)' | vm-102097 | 421849f0-4b4e-4e6a-c1f2-1faedb4a9c7b | 5018ceca-7555-c75e-8dbd-b1a325cf2f52 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
ram-inf-lsv-d-app-01 | poweredOn | False | False | green | ram-inf-lsv-d-app-01.researchidt.prinsesmaximacentrum.nl | connected | running | green | False | 2026-02-25 12:43 |  |  | 0 | 2023-02-17 14:11 | 2026-03-19 13:00 | 8 | 0% | 65536 | 2621 | 1 | 1 | 616448 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.66 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 682086 | 382998 | 317360 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-d-app-01/ram-inf-lsv-d-app-01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-d-app-01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-d-app-01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-d-app-01/ | Created by Cobbler on 2023-02-17 Last backup: [11-3-2026 00:42:58]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3102 | PMC - INFRA |  | Last backup: [31-3-2026 23:28:21]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | PMC | 051825 | Disqover PMC | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  |  |  | https://wiki.ram.nl/index.php/PMC |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc002-esxi06.ram.nl | Ubuntu Linux (64-bit) | Ubuntu Linux (64-bit) | IDLE | architecture='X86' bitness='64' distroAddlVersion='24.04.4 LTS (Noble Numbat)' distroName='Ubuntu' distroVersion='24.04' familyName='Linux' kernelVersion='6.8.0-101-generic' prettyName='Ubuntu 24.04.4 LTS' | vm-74905 | 4219dc62-ee3f-2041-cf05-2591af733ae3 | 5019301e-e82d-b9d8-1450-eadb61863021 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
ram-inf-lsv-p-app-01 | poweredOn | False | False | green | ram-inf-lsv-p-app-01.researchidt.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-12 21:14 |  |  | 0 | 2023-02-17 14:23 | 2026-03-17 20:26 | 8 | 0% | 65536 | 3276 | 1 | 1 | 616448 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.67 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 682085 | 142713 | 77076 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-p-app-01/ram-inf-lsv-p-app-01.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-p-app-01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-p-app-01/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-4] ram-inf-lsv-p-app-01/ | Created by Cobbler on 2023-02-17 Last backup: [11-3-2026 00:43:52]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3102 | PMC - INFRA |  | Last backup: [31-3-2026 23:28:42]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | PMC | 051825 | Disqover PMC | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  |  |  | https://wiki.ram.nl/index.php/PMC |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc001-esxi07.ram.nl | Ubuntu Linux (64-bit) | Ubuntu Linux (64-bit) | IDLE | architecture='X86' bitness='64' distroAddlVersion='24.04.4 LTS (Noble Numbat)' distroName='Ubuntu' distroVersion='24.04' familyName='Linux' kernelVersion='6.8.0-101-generic' prettyName='Ubuntu 24.04.4 LTS' | vm-74906 | 42197f3b-6a6d-aae0-b22a-0bc01385c320 | 5019d9b1-d3be-d3ae-7df1-583f6823baed | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
ram-inf-lsv-p-app-02 | poweredOn | False | False | green | ram-inf-lsv-p-app-02.researchidt.prinsesmaximacentrum.nl | connected | running | green | False | 2026-02-25 12:43 |  |  | 0 | 2024-11-19 13:58 | 2026-03-16 11:33 | 4 | 0% | 16384 | 163 | 1 | 1 | 115712 | False | intel-cascadelake | normal | 0 |  | TRUE | 10.17.107.77 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v4158 | /Papendorp/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 132189 | 28852 | 12375 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | efi | 21 | success | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] ram-inf-lsv-p-app-02/ram-inf-lsv-p-app-02.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] ram-inf-lsv-p-app-02/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] ram-inf-lsv-p-app-02/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] ram-inf-lsv-p-app-02/ | Created by ipxe on 2024-11-19 Last backup: [11-3-2026 00:43:00]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 2804 | PMC - INFRA |  | Last backup: [31-3-2026 23:28:39]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | PMC | 051825 | Disqover PMC | Prinses Maxima Centrum | 051825 | Applicatieserver niet beheerd |  |  |  |  | Wijzig dit in GIT |  |  | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi07.ram.nl | Ubuntu Linux (64-bit) | Ubuntu Linux (64-bit) | IDLE | architecture='X86' bitness='64' distroAddlVersion='24.04.4 LTS (Noble Numbat)' distroName='Ubuntu' distroVersion='24.04' familyName='Linux' kernelVersion='6.8.0-101-generic' prettyName='Ubuntu 24.04.4 LTS' | vm-271041 | 4230991a-cea0-e6f9-b8fa-d17730ee4f38 | 50309fe2-1cc6-a2e8-6519-d1f205506040 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
RAM-PMC-DC03 | poweredOn | False | False | green | RAM-PMC-DC03.pmc-beheer.local | connected | running | green | False | 2026-03-18 08:07 |  |  | 0 | 2022-05-20 15:59 | 2026-03-20 11:48 | 2 | 0% | 4096 | 983 | 1 | 4 | 114688 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.5 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-dell-ppd-cl002/Resources | group-v16093 | /Papendorp/Klant - PMC/Sectra |  | True | notConfigured |  | gray | -1 | -1 |  | 118878 | 49021 | 44831 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] RAM-PMC-DC03/RAM-PMC-DC03.vmx | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] RAM-PMC-DC03/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] RAM-PMC-DC03/ | [Dorado-PPD-04-Ram-ppd-cl002-LUN-5] RAM-PMC-DC03/ | Last backup: [11-3-2026 01:00:41]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3078 | Hosting & Network |  | Last backup: [31-3-2026 23:27:27]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  | RAM-IT | 051825 | Domain Controller | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | WU_RAM_3e-Woensdag-05h00 | 3e Woensdag 5:00 |  |  |  | Papendorp | Ram-dell-ppd-cl002 | ram-ppd-dell-enc003-esxi08.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-16107 | 422e51f7-3bea-4e2c-4627-1834c1dc0562 | 502e4ba5-bdbd-cc93-3877-954675605a80 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
root1141 | poweredOn | False | False | green | root1141 | connected | running | green | False | 2026-02-23 22:57 |  |  | 0 | 2026-02-23 20:00 | 2026-03-23 15:57 | 2 | 0% | 4096 | 245 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.100 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  | True | notConfigured |  | gray | -1 | -1 |  | 86100 | 26008 | 21828 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] root1141/root1141.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] root1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] root1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN05] root1141/ | Last backup: [11-3-2026 01:04:47]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:28:15]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi08.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.1487' prettyName='Windows Server 2022, 64-bit (Build 20348.1487)' | vm-548571 | 422e009b-bd22-8588-69af-ec9af09f70b3 | 502e12e9-e926-c5eb-267a-b292029e0eca | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
scep1141 | poweredOn | False | False | green | scep1141.prinsesmaximacentrum.nl | connected | running | green | False | 2026-03-05 12:36 |  |  | 0 | 2026-02-23 20:27 | 2026-03-29 03:21 | 2 | 0% | 4096 | 901 | 1 | 1 | 81920 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.106 | pmc-str-sg-beheer | [7 empty] | 1 | 4096 | /Papendorp/Ram-hwei-ppd-cl001/Resources | group-v235301 | /Papendorp/Klant - PMC/PKI-Project |  | True | notConfigured |  | gray | -1 | -1 |  | 86100 | 26865 | 22685 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | False | bios | 21 | none | never |  | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] scep1141/scep1141.vmx | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] scep1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] scep1141/ | [Dorado-PPD-04-ppd-hwei-enc001-LUN03] scep1141/ | Last backup: [11-3-2026 01:05:20]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3209 |  |  | Last backup: [31-3-2026 23:28:17]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] |  |  | 051825 |  | Prinses Maxima Centrum | [9 empty] | Papendorp | Ram-hwei-ppd-cl001 | ram-ppd-hwei-enc001-esxi09.ram.nl | Microsoft Windows Server 2016 (64-bit) | Microsoft Windows Server 2022 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='20348' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='20348.1487' prettyName='Windows Server 2022, 64-bit (Build 20348.1487)' | vm-548581 | 422e7cdc-af67-677e-89e8-ee36593c8b14 | 502e5477-e00d-0a7d-0f8b-19241e24f285 | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-ppd-prod02.ram.nl | a8dbc2cf-5ca9-4da7-876a-bdc9bd34a647
RAM-PMC-VMPROXY | poweredOn | False | False | green | RAM-PMC-VMPROXY.pmc-beheer.local | connected | running | green | False | 2026-03-15 19:12 |  |  | 0 | 2022-11-16 14:58 | 2026-03-29 05:06 | 4 | 0% | 8192 | 573 | 2 | 2 | 184320 | False | intel-cascadelake | normal | 0 | TRUE | TRUE | 10.17.107.6 | pmc-str-sg-beheer | pmc-str-sg-uplink-flashblades | [6 empty] | 1 | 8192 | /Groenekan/Ram-dell-gk-cl002/Resources | group-v3059 | /Groenekan/Klant - PMC |  | True | notConfigured |  | gray | -1 | -1 |  | 192602 | 72680 | 64398 | medium | none | vmMonitoringDisabled |  |  | False | 0 | 10000 | False | False | False | True | efi | 21 | none | never |  | [Dorado-GK-02-Ram-gk-cl002-LUN-02] RAM-PMC-VMPROXY/RAM-PMC-VMPROXY.vmx | [Dorado-GK-02-Ram-gk-cl002-LUN-02] RAM-PMC-VMPROXY/ | [Dorado-GK-02-Ram-gk-cl002-LUN-02] RAM-PMC-VMPROXY/ | [Dorado-GK-02-Ram-gk-cl002-LUN-02] RAM-PMC-VMPROXY/ | Last backup: [11-3-2026 01:05:27]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | 3103 | Hosting & Network |  | Last backup: [31-3-2026 23:29:03]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | Last backup: [11-3-2026 23:14:13]; Veeam server: [Veeam-mgmt]; Job: [DC GK PMC Superna, Sectra, File]; Repository: [GK Primary Backup Repo 1 Immutable] | RAM-IT | 051825 | Proxy (tussenstation) | Prinses Maxima Centrum | 051825 | Infrastructure |  |  | WU_RAM_3e-Woensdag-05h00 | 3e Woensdag 5:00 |  |  |  | Groenekan | Ram-dell-gk-cl002 | ram-gk-dell-enc001-esxi08.ram.nl | Microsoft Windows Server 2019 (64-bit) | Microsoft Windows Server 2019 (64-bit) | IDLE | architecture='X86' bitness='64' buildNumber='17763' distroName='Windows' distroVersion='10.0' familyName='Windows' kernelVersion='17763.8511' prettyName='Windows Server 2019, 64-bit (Build 17763.8511)' | vm-18156 | 4218a576-f82a-ea64-0793-4393868c8fa5 | 50186020-0166-8e6e-1f6a-dd182aa3344a | VMware vCenter Server 8.0.3 build-25197330 | 8.0.3.0 | vc-gk-prod02.ram.nl | 99e7a2d7-39e5-4ffa-a834-014436ace75b